## Sheet1
group.element.code.offset.name
0008,0051,SQ,1,IssuerOfAccessionNumberSequence
0008,0117,UI,1,ContextUID
0008,103F,SQ,1,SeriesDescriptionCodeSequence
0008,1134,SQ,1,ReferencedStereometricInstanceSequence
0008,1161,UL,1-n,SimpleFrameList
0008,1162,UL,3-3n,CalculatedFrameList
0008,1163,FD,2,TimeRange
0008,1164,SQ,1,FrameExtractionSequence
0008,1167,UI,1,MultiFrameSourceSOPInstanceUID
0008,2133,SQ,1,EventTimerSequence
0008,2134,FD,1,EventTimeOffset
0008,2135,SQ,1,EventCodeSequence
0008,2251,SQ,1,AnatomicStructureSpaceOrRegionCodeSequenceTrial
0008,2253,SQ,1,AnatomicPortalOfEntranceCodeSequenceTrial
0008,2255,SQ,1,AnatomicApproachDirectionCodeSequenceTrial
0008,2256,ST,1,AnatomicPerspectiveDescriptionTrial
0008,2257,SQ,1,AnatomicPerspectiveCodeSequenceTrial
0008,2258,ST,1,AnatomicLocationOfExaminingInstrumentDescriptionTrial
0008,2259,SQ,1,AnatomicLocationOfExaminingInstrumentCodeSequenceTrial
0008,225A,SQ,1,AnatomicStructureSpaceOrRegionModifierCodeSequenceTrial
0008,225C,SQ,1,OnAxisBackgroundAnatomicStructureCodeSequenceTrial
0010,0022,CS,1,TypeOfPatientID
0010,0024,SQ,1,IssuerOfPatientIDQualifiersSequence
0010,1002,SQ,1,OtherPatientIDsSequence
0010,1021,SQ,1,PatientSizeCodeSequence
0010,2201,LO,1,PatientSpeciesDescription
0010,2202,SQ,1,PatientSpeciesCodeSequence
0010,2203,CS,1,PatientSexNeutered
0010,2210,CS,1,AnatomicalOrientationType
0010,2292,LO,1,PatientBreedDescription
0010,2293,SQ,1,PatientBreedCodeSequence
0010,2294,SQ,1,BreedRegistrationSequence
0010,2295,LO,1,BreedRegistrationNumber
0010,2296,SQ,1,BreedRegistryCodeSequence
0010,2297,PN,1,ResponsiblePerson
0010,2298,CS,1,ResponsiblePersonRole
0010,2299,LO,1,ResponsibleOrganization
0012,0064,SQ,1,DeidentificationMethodCodeSequence
0012,0071,LO,1,ClinicalTrialSeriesID
0012,0072,LO,1,ClinicalTrialSeriesDescription
0012,0081,LO,1,ClinicalTrialProtocolEthicsCommitteeName
0012,0082,LO,1,ClinicalTrialProtocolEthicsCommitteeApprovalNumber
0012,0083,SQ,1,ConsentForClinicalTrialUseSequence
0012,0084,CS,1,DistributionType
0012,0085,CS,1,ConsentForDistributionFlag
0014,0023,ST,1-n,CADFileFormat
0014,0024,ST,1-n,ComponentReferenceSystem
0014,0025,ST,1-n,ComponentManufacturingProcedure
0014,0028,ST,1-n,ComponentManufacturer
0014,0030,DS,1-n,MaterialThickness
0014,0032,DS,1-n,MaterialPipeDiameter
0014,0034,DS,1-n,MaterialIsolationDiameter
0014,0042,ST,1-n,MaterialGrade
0014,0044,ST,1-n,MaterialPropertiesFileID
0014,0045,ST,1-n,MaterialPropertiesFileFormat
0014,0046,LT,1,MaterialNotes
0014,0050,CS,1,ComponentShape
0014,0052,CS,1,CurvatureType
0014,0054,DS,1,OuterDiameter
0014,0056,DS,1,InnerDiameter
0014,1010,ST,1,ActualEnvironmentalConditions
0014,1020,DA,1,ExpiryDate
0014,1040,ST,1,EnvironmentalConditions
0014,2002,SQ,1,EvaluatorSequence
0014,2004,IS,1,EvaluatorNumber
0014,2006,PN,1,EvaluatorName
0014,2008,IS,1,EvaluationAttempt
0014,2012,SQ,1,IndicationSequence
0014,2014,IS,1,IndicationNumber
0014,2016,SH,1,IndicationLabel
0014,2018,ST,1,IndicationDescription
0014,201A,CS,1-n,IndicationType
0014,201C,CS,1,IndicationDisposition
0014,201E,SQ,1,IndicationROISequence
0014,2030,SQ,1,IndicationPhysicalPropertySequence
0014,2032,SH,1,PropertyLabel
0014,2202,IS,1,CoordinateSystemNumberOfAxes
0014,2204,SQ,1,CoordinateSystemAxesSequence
0014,2206,ST,1,CoordinateSystemAxisDescription
0014,2208,CS,1,CoordinateSystemDataSetMapping
0014,220A,IS,1,CoordinateSystemAxisNumber
0014,220C,CS,1,CoordinateSystemAxisType
0014,220E,CS,1,CoordinateSystemAxisUnits
0014,2210,OB,1,CoordinateSystemAxisValues
0014,2220,SQ,1,CoordinateSystemTransformSequence
0014,2222,ST,1,TransformDescription
0014,2224,IS,1,TransformNumberOfAxes
0014,2226,IS,1-n,TransformOrderOfAxes
0014,2228,CS,1,TransformedAxisUnits
0014,222A,DS,1-n,CoordinateSystemTransformRotationAndScaleMatrix
0014,222C,DS,1-n,CoordinateSystemTransformTranslationMatrix
0014,3011,DS,1,InternalDetectorFrameTime
0014,3012,DS,1,NumberOfFramesIntegrated
0014,3020,SQ,1,DetectorTemperatureSequence
0014,3022,DS,1,SensorName
0014,3024,DS,1,HorizontalOffsetOfSensor
0014,3026,DS,1,VerticalOffsetOfSensor
0014,3028,DS,1,SensorTemperature
0014,3040,SQ,1,DarkCurrentSequence
0014,3050,OB,1,DarkCurrentCounts
0014,3060,SQ,1,GainCorrectionReferenceSequence
0014,3070,OB,1,AirCounts
0014,3071,DS,1,KVUsedInGainCalibration
0014,3072,DS,1,MAUsedInGainCalibration
0014,3073,DS,1,NumberOfFramesUsedForIntegration
0014,3074,LO,1,FilterMaterialUsedInGainCalibration
0014,3075,DS,1,FilterThicknessUsedInGainCalibration
0014,3076,DA,1,DateOfGainCalibration
0014,3077,TM,1,TimeOfGainCalibration
0014,3080,OB,1,BadPixelImage
0014,3099,LT,1,CalibrationNotes
0014,4002,SQ,1,PulserEquipmentSequence
0014,4004,CS,1,PulserType
0014,4006,LT,1,PulserNotes
0014,4008,SQ,1,ReceiverEquipmentSequence
0014,400A,CS,1,AmplifierType
0014,400C,LT,1,ReceiverNotes
0014,400E,SQ,1,PreAmplifierEquipmentSequence
0014,400F,LT,1,PreAmplifierNotes
0014,4010,SQ,1,TransmitTransducerSequence
0014,4011,SQ,1,ReceiveTransducerSequence
0014,4012,US,1,NumberOfElements
0014,4013,CS,1,ElementShape
0014,4014,DS,1,ElementDimensionA
0014,4015,DS,1,ElementDimensionB
0014,4016,DS,1,ElementPitch
0014,4017,DS,1,MeasuredBeamDimensionA
0014,4018,DS,1,MeasuredBeamDimensionB
0014,4019,DS,1,LocationOfMeasuredBeamDiameter
0014,401A,DS,1,NominalFrequency
0014,401B,DS,1,MeasuredCenterFrequency
0014,401C,DS,1,MeasuredBandwidth
0014,4020,SQ,1,PulserSettingsSequence
0014,4022,DS,1,PulseWidth
0014,4024,DS,1,ExcitationFrequency
0014,4026,CS,1,ModulationType
0014,4028,DS,1,Damping
0014,4030,SQ,1,ReceiverSettingsSequence
0014,4031,DS,1,AcquiredSoundpathLength
0014,4032,CS,1,AcquisitionCompressionType
0014,4033,IS,1,AcquisitionSampleSize
0014,4034,DS,1,RectifierSmoothing
0014,4035,SQ,1,DACSequence
0014,4036,CS,1,DACType
0014,4038,DS,1-n,DACGainPoints
0014,403A,DS,1-n,DACTimePoints
0014,403C,DS,1-n,DACAmplitude
0014,4040,SQ,1,PreAmplifierSettingsSequence
0014,4050,SQ,1,TransmitTransducerSettingsSequence
0014,4051,SQ,1,ReceiveTransducerSettingsSequence
0014,4052,DS,1,IncidentAngle
0014,4054,ST,1,CouplingTechnique
0014,4056,ST,1,CouplingMedium
0014,4057,DS,1,CouplingVelocity
0014,4058,DS,1,CrystalCenterLocationX
0014,4059,DS,1,CrystalCenterLocationZ
0014,405A,DS,1,SoundPathLength
0014,405C,ST,1,DelayLawIdentifier
0014,4060,SQ,1,GateSettingsSequence
0014,4062,DS,1,GateThreshold
0014,4064,DS,1,VelocityOfSound
0014,4070,SQ,1,CalibrationSettingsSequence
0014,4072,ST,1,CalibrationProcedure
0014,4074,SH,1,ProcedureVersion
0014,4076,DA,1,ProcedureCreationDate
0014,4078,DA,1,ProcedureExpirationDate
0014,407A,DA,1,ProcedureLastModifiedDate
0014,407C,TM,1-n,CalibrationTime
0014,407E,DA,1-n,CalibrationDate
0014,5002,IS,1,LINACEnergy
0014,5004,IS,1,LINACOutput
0018,0042,CS,1,InitialCineRunState
0018,1003,LO,1,DeviceID
0018,1005,LO,1,GeneratorID
0018,1006,LO,1,GridID
0018,1007,LO,1,CassetteID
0018,1008,LO,1,GantryID
0018,1411,DS,1,ExposureIndex
0018,1412,DS,1,TargetExposureIndex
0018,1413,DS,1,DeviationIndex
0018,7036,FL,2,PixelDataAreaOriginRelativeToFOV
0018,7038,FL,1,PixelDataAreaRotationAngleRelativeToFOV
0018,7056,FL,1-n,FilterBeamPathLengthMinimum
0018,7058,FL,1-n,FilterBeamPathLengthMaximum
0018,9092,SQ,1,VelocityEncodingAcquisitionSequence
0018,9096,FD,1,ParallelReductionFactorInPlaneRetired
0018,9185,ST,1,RespiratoryMotionCompensationTechniqueDescription
0018,9186,SH,1,RespiratorySignalSourceID
0018,9250,CS,1,ArterialSpinLabelingContrast
0018,9251,SQ,1,MRArterialSpinLabeling
0018,9252,LO,1,ASLTechniqueDescription
0018,9253,US,1,ASLSlabNumber
0018,9254,FD,1,ASLSlabThickness
0018,9255,FD,3,ASLSlabOrientation
0018,9256,FD,3,ASLMidSlabPosition
0018,9257,CS,1,ASLContext
0018,9258,UL,1,ASLPulseTrainDuration
0018,9259,CS,1,ASLCrusherFlag
0018,925A,FD,1,ASLCrusherFlow
0018,925B,LO,1,ASLCrusherDescription
0018,925C,CS,1,ASLBolusCutoffFlag
0018,925D,SQ,1,ASLBolusCutoffTimingSequence
0018,925E,LO,1,ASLBolusCutoffTechnique
0018,925F,UL,1,ASLBolusCutoffDelayTime
0018,9260,SQ,1,ASLSlabSequence
0018,9346,SQ,1,CTDIPhantomTypeCodeSequence
0018,9351,FL,1,CalciumScoringMassFactorPatient
0018,9352,FL,3,CalciumScoringMassFactorDevice
0018,9353,FL,1,EnergyWeightingFactor
0018,9360,SQ,1,CTAdditionalXRaySourceSequence
0018,9406,SQ,1,TablePositionSequence
0018,9407,SQ,1,CollimatorShapeSequence
0018,9410,CS,1,PlanesInAcquisition
0018,9412,SQ,1,XAXRFFrameCharacteristicsSequence
0018,9417,SQ,1,FrameAcquisitionSequence
0018,9420,CS,1,XRayReceptorType
0018,9423,LO,1,AcquisitionProtocolName
0018,9424,LT,1,AcquisitionProtocolDescription
0018,9425,CS,1,ContrastBolusIngredientOpaque
0018,9426,FL,1,DistanceReceptorPlaneToDetectorHousing
0018,9427,CS,1,IntensifierActiveShape
0018,9428,FL,1-2,IntensifierActiveDimensions
0018,9429,FL,2,PhysicalDetectorSize
0018,9430,FL,2,PositionOfIsocenterProjection
0018,9432,SQ,1,FieldOfViewSequence
0018,9433,LO,1,FieldOfViewDescription
0018,9434,SQ,1,ExposureControlSensingRegionsSequence
0018,9435,CS,1,ExposureControlSensingRegionShape
0018,9436,SS,1,ExposureControlSensingRegionLeftVerticalEdge
0018,9437,SS,1,ExposureControlSensingRegionRightVerticalEdge
0018,9438,SS,1,ExposureControlSensingRegionUpperHorizontalEdge
0018,9439,SS,1,ExposureControlSensingRegionLowerHorizontalEdge
0018,9440,SS,2,CenterOfCircularExposureControlSensingRegion
0018,9441,US,1,RadiusOfCircularExposureControlSensingRegion
0018,9442,SS,2-n,VerticesOfThePolygonalExposureControlSensingRegion
0018,9447,FL,1,ColumnAngulationPatient
0018,9449,FL,1,BeamAngle
0018,9451,SQ,1,FrameDetectorParametersSequence
0018,9452,FL,1,CalculatedAnatomyThickness
0018,9455,SQ,1,CalibrationSequence
0018,9456,SQ,1,ObjectThicknessSequence
0018,9457,CS,1,PlaneIdentification
0018,9461,FL,1-2,FieldOfViewDimensionsInFloat
0018,9462,SQ,1,IsocenterReferenceSystemSequence
0018,9463,FL,1,PositionerIsocenterPrimaryAngle
0018,9464,FL,1,PositionerIsocenterSecondaryAngle
0018,9465,FL,1,PositionerIsocenterDetectorRotationAngle
0018,9466,FL,1,TableXPositionToIsocenter
0018,9467,FL,1,TableYPositionToIsocenter
0018,9468,FL,1,TableZPositionToIsocenter
0018,9469,FL,1,TableHorizontalRotationAngle
0018,9470,FL,1,TableHeadTiltAngle
0018,9471,FL,1,TableCradleTiltAngle
0018,9472,SQ,1,FrameDisplayShutterSequence
0018,9473,FL,1,AcquiredImageAreaDoseProduct
0018,9474,CS,1,CArmPositionerTabletopRelationship
0018,9476,SQ,1,XRayGeometrySequence
0018,9477,SQ,1,IrradiationEventIdentificationSequence
0018,9504,SQ,1,XRay3DFrameTypeSequence
0018,9506,SQ,1,ContributingSourcesSequence
0018,9507,SQ,1,XRay3DAcquisitionSequence
0018,9508,FL,1,PrimaryPositionerScanArc
0018,9509,FL,1,SecondaryPositionerScanArc
0018,9510,FL,1,PrimaryPositionerScanStartAngle
0018,9511,FL,1,SecondaryPositionerScanStartAngle
0018,9514,FL,1,PrimaryPositionerIncrement
0018,9515,FL,1,SecondaryPositionerIncrement
0018,9516,DT,1,StartAcquisitionDateTime
0018,9517,DT,1,EndAcquisitionDateTime
0018,9524,LO,1,ApplicationName
0018,9525,LO,1,ApplicationVersion
0018,9526,LO,1,ApplicationManufacturer
0018,9527,CS,1,AlgorithmType
0018,9528,LO,1,AlgorithmDescription
0018,9530,SQ,1,XRay3DReconstructionSequence
0018,9531,LO,1,ReconstructionDescription
0018,9538,SQ,1,PerProjectionAcquisitionSequence
0018,9601,SQ,1,DiffusionBMatrixSequence
0018,9602,FD,1,DiffusionBValueXX
0018,9603,FD,1,DiffusionBValueXY
0018,9604,FD,1,DiffusionBValueXZ
0018,9605,FD,1,DiffusionBValueYY
0018,9606,FD,1,DiffusionBValueYZ
0018,9607,FD,1,DiffusionBValueZZ
0018,9701,DT,1,DecayCorrectionDateTime
0018,9715,FD,1,StartDensityThreshold
0018,9716,FD,1,StartRelativeDensityDifferenceThreshold
0018,9717,FD,1,StartCardiacTriggerCountThreshold
0018,9718,FD,1,StartRespiratoryTriggerCountThreshold
0018,9719,FD,1,TerminationCountsThreshold
0018,9720,FD,1,TerminationDensityThreshold
0018,9721,FD,1,TerminationRelativeDensityThreshold
0018,9722,FD,1,TerminationTimeThreshold
0018,9723,FD,1,TerminationCardiacTriggerCountThreshold
0018,9724,FD,1,TerminationRespiratoryTriggerCountThreshold
0018,9725,CS,1,DetectorGeometry
0018,9726,FD,1,TransverseDetectorSeparation
0018,9727,FD,1,AxialDetectorDimension
0018,9729,US,1,RadiopharmaceuticalAgentNumber
0018,9732,SQ,1,PETFrameAcquisitionSequence
0018,9733,SQ,1,PETDetectorMotionDetailsSequence
0018,9734,SQ,1,PETTableDynamicsSequence
0018,9735,SQ,1,PETPositionSequence
0018,9736,SQ,1,PETFrameCorrectionFactorsSequence
0018,9737,SQ,1,RadiopharmaceuticalUsageSequence
0018,9738,CS,1,AttenuationCorrectionSource
0018,9739,US,1,NumberOfIterations
0018,9740,US,1,NumberOfSubsets
0018,9749,SQ,1,PETReconstructionSequence
0018,9751,SQ,1,PETFrameTypeSequence
0018,9755,CS,1,TimeOfFlightInformationUsed
0018,9756,CS,1,ReconstructionType
0018,9758,CS,1,DecayCorrected
0018,9759,CS,1,AttenuationCorrected
0018,9760,CS,1,ScatterCorrected
0018,9761,CS,1,DeadTimeCorrected
0018,9762,CS,1,GantryMotionCorrected
0018,9763,CS,1,PatientMotionCorrected
0018,9764,CS,1,CountLossNormalizationCorrected
0018,9765,CS,1,RandomsCorrected
0018,9766,CS,1,NonUniformRadialSamplingCorrected
0018,9767,CS,1,SensitivityCalibrated
0018,9768,CS,1,DetectorNormalizationCorrection
0018,9769,CS,1,IterativeReconstructionMethod
0018,9770,CS,1,AttenuationCorrectionTemporalRelationship
0018,9771,SQ,1,PatientPhysiologicalStateSequence
0018,9772,SQ,1,PatientPhysiologicalStateCodeSequence
0018,9801,FD,1-n,DepthsOfFocus
0018,9803,SQ,1,ExcludedIntervalsSequence
0018,9804,DT,1,ExclusionStartDatetime
0018,9805,FD,1,ExclusionDuration
0018,9806,SQ,1,USImageDescriptionSequence
0018,9807,SQ,1,ImageDataTypeSequence
0018,9808,CS,1,DataType
0018,9809,SQ,1,TransducerScanPatternCodeSequence
0018,980B,CS,1,AliasedDataType
0018,980C,CS,1,PositionMeasuringDeviceUsed
0018,980D,SQ,1,TransducerGeometryCodeSequence
0018,980E,SQ,1,TransducerBeamSteeringCodeSequence
0018,980F,SQ,1,TransducerApplicationCodeSequence
0020,00AA,IS,1,ReportNumber
0020,0242,UI,1,SOPInstanceUIDOfConcatenationSource
0020,9154,FL,1,NominalCardiacTriggerTimePriorToRPeak
0020,9155,FL,1,ActualCardiacTriggerTimePriorToRPeak
0020,9241,FL,1,NominalPercentageOfCardiacPhase
0020,9245,FL,1,NominalPercentageOfRespiratoryPhase
0020,9246,FL,1,StartingRespiratoryAmplitude
0020,9247,CS,1,StartingRespiratoryPhase
0020,9248,FL,1,EndingRespiratoryAmplitude
0020,9249,CS,1,EndingRespiratoryPhase
0020,9250,CS,1,RespiratoryTriggerType
0020,9252,FD,1,ActualCardiacTriggerDelayTime
0020,9253,SQ,1,RespiratorySynchronizationSequence
0020,9254,FD,1,RespiratoryIntervalTime
0020,9255,FD,1,NominalRespiratoryTriggerDelayTime
0020,9256,FD,1,RespiratoryTriggerDelayThreshold
0020,9257,FD,1,ActualRespiratoryTriggerDelayTime
0020,9301,FD,3,ImagePositionVolume
0020,9302,FD,6,ImageOrientationVolume
0020,9307,CS,1,UltrasoundAcquisitionGeometry
0020,9308,FD,3,ApexPosition
0020,9309,FD,16,VolumeToTransducerMappingMatrix
0020,930A,FD,16,VolumeToTableMappingMatrix
0020,930C,CS,1,PatientFrameOfReferenceSource
0020,930D,FD,1,TemporalPositionTimeOffset
0020,930E,SQ,1,PlanePositionVolumeSequence
0020,930F,SQ,1,PlaneOrientationVolumeSequence
0020,9310,SQ,1,TemporalPositionSequence
0020,9311,CS,1,DimensionOrganizationType
0020,9312,UI,1,VolumeFrameOfReferenceUID
0020,9313,UI,1,TableFrameOfReferenceUID
0020,9421,LO,1,DimensionDescriptionLabel
0020,9450,SQ,1,PatientOrientationInFrameSequence
0020,9453,LO,1,FrameLabel
0020,9518,US,1-n,AcquisitionIndex
0020,9529,SQ,1,ContributingSOPInstancesReferenceSequence
0020,9536,US,1,ReconstructionIndex
0022,001E,FL,1,CameraAngleOfView
0022,0030,FL,1,AxialLengthOfTheEye
0022,0031,SQ,1,OphthalmicFrameLocationSequence
0022,0032,FL,2-2n,ReferenceCoordinates
0022,0035,FL,1,DepthSpatialResolution
0022,0036,FL,1,MaximumDepthDistortion
0022,0037,FL,1,AlongScanSpatialResolution
0022,0038,FL,1,MaximumAlongScanDistortion
0022,0039,CS,1,OphthalmicImageOrientation
0022,0041,FL,1,DepthOfTransverseImage
0022,0042,SQ,1,MydriaticAgentConcentrationUnitsSequence
0022,0048,FL,1,AcrossScanSpatialResolution
0022,0049,FL,1,MaximumAcrossScanDistortion
0022,004E,DS,1,MydriaticAgentConcentration
0022,0055,FL,1,IlluminationWaveLength
0022,0056,FL,1,IlluminationPower
0022,0057,FL,1,IlluminationBandwidth
0022,0058,SQ,1,MydriaticAgentSequence
0022,1007,SQ,1,OphthalmicAxialMeasurementsRightEyeSequence
0022,1008,SQ,1,OphthalmicAxialMeasurementsLeftEyeSequence
0022,1010,CS,1,OphthalmicAxialLengthMeasurementsType
0022,1019,FL,1,OphthalmicAxialLength
0022,1024,SQ,1,LensStatusCodeSequence
0022,1025,SQ,1,VitreousStatusCodeSequence
0022,1028,SQ,1,IOLFormulaCodeSequence
0022,1029,LO,1,IOLFormulaDetail
0022,1033,FL,1,KeratometerIndex
0022,1035,SQ,1,SourceOfOphthalmicAxialLengthCodeSequence
0022,1037,FL,1,TargetRefraction
0022,1039,CS,1,RefractiveProcedureOccurred
0022,1040,SQ,1,RefractiveSurgeryTypeCodeSequence
0022,1044,SQ,1,OphthalmicUltrasoundAxialMeasurementsTypeCodeSequence
0022,1050,SQ,1,OphthalmicAxialLengthMeasurementsSequence
0022,1053,FL,1,IOLPower
0022,1054,FL,1,PredictedRefractiveError
0022,1059,FL,1,OphthalmicAxialLengthVelocity
0022,1065,LO,1,LensStatusDescription
0022,1066,LO,1,VitreousStatusDescription
0022,1090,SQ,1,IOLPowerSequence
0022,1092,SQ,1,LensConstantSequence
0022,1093,LO,1,IOLManufacturer
0022,1094,LO,1,LensConstantDescription
0022,1096,SQ,1,KeratometryMeasurementTypeCodeSequence
0022,1100,SQ,1,ReferencedOphthalmicAxialMeasurementsSequence
0022,1101,SQ,1,OphthalmicAxialLengthMeasurementsSegmentNameCodeSequence
0022,1103,SQ,1,RefractiveErrorBeforeRefractiveSurgeryCodeSequence
0022,1121,FL,1,IOLPowerForExactEmmetropia
0022,1122,FL,1,IOLPowerForExactTargetRefraction
0022,1125,SQ,1,AnteriorChamberDepthDefinitionCodeSequence
0022,1130,FL,1,LensThickness
0022,1131,FL,1,AnteriorChamberDepth
0022,1132,SQ,1,SourceOfLensThicknessDataCodeSequence
0022,1133,SQ,1,SourceOfAnteriorChamberDepthDataCodeSequence
0022,1135,SQ,1,SourceOfRefractiveErrorDataCodeSequence
0022,1140,CS,1,OphthalmicAxialLengthMeasurementModified
0022,1150,SQ,1,OphthalmicAxialLengthDataSourceCodeSequence
0022,1153,SQ,1,OphthalmicAxialLengthAcquisitionMethodCodeSequence
0022,1155,FL,1,SignalToNoiseRatio
0022,1159,LO,1,OphthalmicAxialLengthDataSourceDescription
0022,1210,SQ,1,OphthalmicAxialLengthMeasurementsTotalLengthSequence
0022,1211,SQ,1,OphthalmicAxialLengthMeasurementsSegmentalLengthSequence
0022,1212,SQ,1,OphthalmicAxialLengthMeasurementsLengthSummationSequence
0022,1220,SQ,1,UltrasoundOphthalmicAxialLengthMeasurementsSequence
0022,1225,SQ,1,OpticalOphthalmicAxialLengthMeasurementsSequence
0022,1230,SQ,1,UltrasoundSelectedOphthalmicAxialLengthSequence
0022,1250,SQ,1,OphthalmicAxialLengthSelectionMethodCodeSequence
0022,1255,SQ,1,OpticalSelectedOphthalmicAxialLengthSequence
0022,1257,SQ,1,SelectedSegmentalOphthalmicAxialLengthSequence
0022,1260,SQ,1,SelectedTotalOphthalmicAxialLengthSequence
0022,1262,SQ,1,OphthalmicAxialLengthQualityMetricSequence
0022,1273,LO,1,OphthalmicAxialLengthQualityMetricTypeDescription
0022,1300,SQ,1,IntraocularLensCalculationsRightEyeSequence
0022,1310,SQ,1,IntraocularLensCalculationsLeftEyeSequence
0022,1330,SQ,1,ReferencedOphthalmicAxialLengthMeasurementQCImage
0024,0010,FL,1,VisualFieldHorizontalExtent
0024,0011,FL,1,VisualFieldVerticalExtent
0024,0012,CS,1,VisualFieldShape
0024,0016,SQ,1,ScreeningTestModeCodeSequence
0024,0018,FL,1,MaximumStimulusLuminance
0024,0020,FL,1,BackgroundLuminance
0024,0021,SQ,1,StimulusColorCodeSequence
0024,0024,SQ,1,BackgroundIlluminationColorCodeSequence
0024,0025,FL,1,StimulusArea
0024,0028,FL,1,StimulusPresentationTime
0024,0032,SQ,1,FixationSequence
0024,0033,SQ,1,FixationMonitoringCodeSequence
0024,0034,SQ,1,VisualFieldCatchTrialSequence
0024,0035,US,1,FixationCheckedQuantity
0024,0036,US,1,PatientNotProperlyFixatedQuantity
0024,0037,CS,1,PresentedDataFlag
0024,0038,US,1,NumberOfVisualStimuli
0024,0039,CS,1,ExcessiveFixationLossesDataFlag
0024,0040,CS,1,ExcessiveFixationLosses
0024,0042,US,1,StimuliRetesting
0024,0044,LT,1,CommentsOnPatientPerformanceOfVisualField
0024,0045,CS,1,FalseNegativesEstimateFlag
0024,0046,FL,1,FalseNegativesEstimate
0024,0048,US,1,NegativeCatchTrials
0024,0050,US,1,FalseNegatives
0024,0051,CS,1,ExcessiveFalseNegativesDataFlag
0024,0052,CS,1,ExcessiveFalseNegatives
0024,0053,CS,1,FalsePositivesEstimateFlag
0024,0054,FL,1,FalsePositivesEstimate
0024,0055,CS,1,CatchTrialsDataFlag
0024,0056,US,1,PositiveCatchTrials
0024,0057,CS,1,TestPointNormalsDataFlag
0024,0058,SQ,1,TestPointNormalsSequence
0024,0059,CS,1,GlobalDeviationProbabilityNormalsFlag
0024,0060,US,1,FalsePositives
0024,0061,CS,1,ExcessiveFalsePositivesDataFlag
0024,0062,CS,1,ExcessiveFalsePositives
0024,0063,CS,1,VisualFieldTestNormalsFlag
0024,0064,SQ,1,ResultsNormalsSequence
0024,0065,SQ,1,AgeCorrectedSensitivityDeviationAlgorithmSequence
0024,0066,FL,1,GlobalDeviationFromNormal
0024,0067,SQ,1,GeneralizedDefectSensitivityDeviationAlgorithmSequence
0024,0068,FL,1,LocalizedDeviationfromNormal
0024,0069,LO,1,PatientReliabilityIndicator
0024,0070,FL,1,VisualFieldMeanSensitivity
0024,0071,FL,1,GlobalDeviationProbability
0024,0072,CS,1,LocalDeviationProbabilityNormalsFlag
0024,0073,FL,1,LocalizedDeviationProbability
0024,0074,CS,1,ShortTermFluctuationCalculated
0024,0075,FL,1,ShortTermFluctuation
0024,0076,CS,1,ShortTermFluctuationProbabilityCalculated
0024,0077,FL,1,ShortTermFluctuationProbability
0024,0078,CS,1,CorrectedLocalizedDeviationFromNormalCalculated
0024,0079,FL,1,CorrectedLocalizedDeviationFromNormal
0024,0080,CS,1,CorrectedLocalizedDeviationFromNormalProbabilityCalculated
0024,0081,FL,1,CorrectedLocalizedDeviationFromNormalProbability
0024,0083,SQ,1,GlobalDeviation
0024,0085,SQ,1,LocalizedDeviation
0024,0086,CS,1,FovealSensitivityMeasured
0024,0087,FL,1,FovealSensitivity
0024,0088,FL,1,VisualFieldTestDuration
0024,0089,SQ,1,VisualFieldTestPointSequence
0024,0090,FL,1,VisualFieldTestPointXCoordinate
0024,0091,FL,1,VisualFieldTestPointYCoordinate
0024,0092,FL,1,AgeCorrectedSensitivityDeviationValue
0024,0093,CS,1,StimulusResults
0024,0094,FL,1,SensitivityValue
0024,0095,CS,1,RetestStimulusSeen
0024,0096,FL,1,RetestSensitivityValue
0024,0097,SQ,1,VisualFieldTestPointNormalsSequence
0024,0098,FL,1,QuantifiedDefect
0024,0100,FL,1,AgeCorrectedSensitivityDeviationProbabilityValue
0024,0102,CS,1,GeneralizedDefectCorrectedSensitivityDeviationFlag
0024,0103,FL,1,GeneralizedDefectCorrectedSensitivityDeviationValue
0024,0104,FL,1,GeneralizedDefectCorrectedSensitivityDeviationProbabilityValue
0024,0105,FL,1,MinimumSensitivityValue
0024,0106,CS,1,BlindSpotLocalized
0024,0107,FL,1,BlindSpotXCoordinate
0024,0108,FL,1,BlindSpotYCoordinate
0024,0110,SQ,1,VisualAcuityMeasurementSequence
0024,0112,SQ,1,RefractiveParametersUsedOnPatientSequence
0024,0113,CS,1,MeasurementLaterality
0024,0114,SQ,1,OphthalmicPatientClinicalInformationLeftEyeSequence
0024,0115,SQ,1,OphthalmicPatientClinicalInformationRightEyeSequence
0024,0117,CS,1,FovealPointNormativeDataFlag
0024,0118,FL,1,FovealPointProbabilityValue
0024,0120,CS,1,ScreeningBaselineMeasured
0024,0122,SQ,1,ScreeningBaselineMeasuredSequence
0024,0124,CS,1,ScreeningBaselineType
0024,0126,FL,1,ScreeningBaselineValue
0024,0202,LO,1,AlgorithmSource
0024,0306,LO,1,DataSetName
0024,0307,LO,1,DataSetVersion
0024,0308,LO,1,DataSetSource
0024,0309,LO,1,DataSetDescription
0024,0317,SQ,1,VisualFieldTestReliabilityGlobalIndexSequence
0024,0320,SQ,1,VisualFieldGlobalResultsIndexSequence
0024,0325,SQ,1,DataObservationSequence
0024,0338,CS,1,IndexNormalsFlag
0024,0341,FL,1,IndexProbability
0024,0344,SQ,1,IndexProbabilitySequence
0028,005F,LO,1,CompressionRecognitionCode
0028,0061,SH,1,CompressionOriginator
0028,0062,LO,1,CompressionLabel
0028,0063,SH,1,CompressionDescription
0028,0065,CS,1-n,CompressionSequence
0028,0066,AT,1-n,CompressionStepPointers
0028,0068,US,1,RepeatInterval
0028,0069,US,1,BitsGrouped
0028,0070,US,1-n,PerimeterTable
0028,0071,US,1,PerimeterValue
0028,0080,US,1,PredictorRows
0028,0081,US,1,PredictorColumns
0028,0082,US,1-n,PredictorConstants
0028,0090,CS,1,BlockedPixels
0028,0091,US,1,BlockRows
0028,0092,US,1,BlockColumns
0028,0093,US,1,RowOverlap
0028,0094,US,1,ColumnOverlap
0028,0121,US,1,PixelPaddingRangeLimit
0028,0302,CS,1,RecognizableVisualFeatures
0028,0303,CS,1,LongitudinalTemporalInformationModified
0028,0400,LO,1,TransformLabel
0028,0401,LO,1,TransformVersionNumber
0028,0403,LO,1-n,SequenceOfCompressedData
0028,0700,LO,1,DCTLabel
0028,0701,CS,1-n,DataBlockDescription
0028,0702,AT,1-n,DataBlock
0028,0710,US,1,NormalizationFactorFormat
0028,0720,US,1,ZonalMapNumberFormat
0028,0721,AT,1-n,ZonalMapLocation
0028,0722,US,1,ZonalMapFormat
0028,0730,US,1,AdaptiveMapFormat
0028,0740,US,1,CodeNumberFormat
0028,0A02,CS,1,PixelSpacingCalibrationType
0028,0A04,LO,1,PixelSpacingCalibrationDescription
0028,1104,US,3,AlphaPaletteColorLookupTableDescriptor
0028,1111,US,4,LargeRedPaletteColorLookupTableDescriptor
0028,1112,US,4,LargeGreenPaletteColorLookupTableDescriptor
0028,1113,US,4,LargeBluePaletteColorLookupTableDescriptor
0028,1204,OW,1,AlphaPaletteColorLookupTableData
0028,1211,OW,1,LargeRedPaletteColorLookupTableData
0028,1212,OW,1,LargeGreenPaletteColorLookupTableData
0028,1213,OW,1,LargeBluePaletteColorLookupTableData
0028,1214,UI,1,LargePaletteColorLookupTableUID
0028,1401,SQ,1,DataFrameAssignmentSequence
0028,1402,CS,1,DataPathAssignment
0028,1403,US,1,BitsMappedToColorLookupTable
0028,1404,SQ,1,BlendingLUT1Sequence
0028,1405,CS,1,BlendingLUT1TransferFunction
0028,1406,FD,1,BlendingWeightConstant
0028,1407,US,3,BlendingLookupTableDescriptor
0028,1408,OW,1,BlendingLookupTableData
0028,140B,SQ,1,EnhancedPaletteColorLookupTableSequence
0028,140C,SQ,1,BlendingLUT2Sequence
0028,140D,CS,1,BlendingLUT2TransferFunction
0028,140E,CS,1,DataPathID
0028,140F,CS,1,RGBLUTTransferFunction
0028,1410,CS,1,AlphaLUTTransferFunction
0028,7FE0,UT,1,PixelDataProviderURL
0028,9411,FL,1,DisplayFilterPercentage
0028,9415,SQ,1,FramePixelShiftSequence
0028,9416,US,1,SubtractionItemID
0028,9422,SQ,1,PixelIntensityRelationshipLUTSequence
0028,9443,SQ,1,FramePixelDataPropertiesSequence
0028,9444,CS,1,GeometricalProperties
0028,9445,FL,1,GeometricMaximumDistortion
0028,9446,CS,1-n,ImageProcessingApplied
0028,9454,CS,1,MaskSelectionMode
0028,9474,CS,1,LUTFunction
0028,9478,FL,1,MaskVisibilityPercentage
0028,9501,SQ,1,PixelShiftSequence
0028,9502,SQ,1,RegionPixelShiftSequence
0028,9503,SS,2-2n,VerticesOfTheRegion
0028,9505,SQ,1,MultiFramePresentationSequence
0028,9506,US,2-2n,PixelShiftFrameRange
0028,9507,US,2-2n,LUTFrameRange
0028,9520,DS,16,ImageToEquipmentMappingMatrix
0028,9537,CS,1,EquipmentCoordinateSystemIdentification
0032,1034,SQ,1,RequestingServiceCodeSequence
0038,0014,SQ,1,IssuerOfAdmissionIDSequence
0038,0060,LO,1,ServiceEpisodeID
0038,0061,LO,1,IssuerOfServiceEpisodeID
0038,0062,LO,1,ServiceEpisodeDescription
0038,0064,SQ,1,IssuerOfServiceEpisodeIDSequence
003A,0230,FL,1,WaveformDataDisplayScale
003A,0231,US,3,WaveformDisplayBackgroundCIELabValue
003A,0240,SQ,1,WaveformPresentationGroupSequence
003A,0241,US,1,PresentationGroupNumber
003A,0242,SQ,1,ChannelDisplaySequence
003A,0244,US,3,ChannelRecommendedDisplayCIELabValue
003A,0245,FL,1,ChannelPosition
003A,0246,CS,1,DisplayShadingFlag
003A,0247,FL,1,FractionalChannelDisplayScale
003A,0248,FL,1,AbsoluteChannelDisplayScale
0040,0026,SQ,1,OrderPlacerIdentifierSequence
0040,0027,SQ,1,OrderFillerIdentifierSequence
0040,0031,UT,1,LocalNamespaceEntityID
0040,0032,UT,1,UniversalEntityID
0040,0033,CS,1,UniversalEntityIDType
0040,0035,CS,1,IdentifierTypeCode
0040,0036,SQ,1,AssigningFacilitySequence
0040,0039,SQ,1,AssigningJurisdictionCodeSequence
0040,003A,SQ,1,AssigningAgencyOrDepartmentCodeSequence
0040,0261,CS,1,PerformedProtocolType
0040,0500,SQ,1,ScheduledSpecimenSequence
0040,0512,LO,1,ContainerIdentifier
0040,0513,SQ,1,IssuerOfTheContainerIdentifierSequence
0040,0515,SQ,1,AlternateContainerIdentifierSequence
0040,0518,SQ,1,ContainerTypeCodeSequence
0040,051A,LO,1,ContainerDescription
0040,0520,SQ,1,ContainerComponentSequence
0040,0552,SQ,1,SpecimenDescriptionSequenceTrial
0040,0553,ST,1,SpecimenDescriptionTrial
0040,0554,UI,1,SpecimenUID
0040,0560,SQ,1,SpecimenDescriptionSequence
0040,0562,SQ,1,IssuerOfTheSpecimenIdentifierSequence
0040,0600,LO,1,SpecimenShortDescription
0040,0602,UT,1,SpecimenDetailedDescription
0040,0610,SQ,1,SpecimenPreparationSequence
0040,0612,SQ,1,SpecimenPreparationStepContentItemSequence
0040,0620,SQ,1,SpecimenLocalizationContentItemSequence
0040,09F8,SQ,1,VitalStainCodeSequenceTrial
0040,1012,SQ,1,ReasonForPerformedProcedureCodeSequence
0040,1060,LO,1,RequestedProcedureDescriptionTrial
0040,4040,CS,1,RawDataHandling
0040,4041,CS,1,InputReadinessState
0040,4050,DT,1,PerformedProcedureStepStartDateTime
0040,4051,DT,1,PerformedProcedureStepEndDateTime
0040,4052,DT,1,ProcedureStepCancellationDateTime
0040,A007,CS,1,FindingsFlagTrial
0040,A020,SQ,1,FindingsSequenceTrial
0040,A021,UI,1,FindingsGroupUIDTrial
0040,A022,UI,1,ReferencedFindingsGroupUIDTrial
0040,A023,DA,1,FindingsGroupRecordingDateTrial
0040,A024,TM,1,FindingsGroupRecordingTimeTrial
0040,A026,SQ,1,FindingsSourceCategoryCodeSequenceTrial
0040,A028,SQ,1,DocumentingOrganizationIdentifierCodeSequenceTrial
0040,A047,LO,1,MeasurementPrecisionDescriptionTrial
0040,A057,CS,1-n,UrgencyOrPriorityAlertsTrial
0040,A060,LO,1,SequencingIndicatorTrial
0040,A066,SQ,1,DocumentIdentifierCodeSequenceTrial
0040,A067,PN,1,DocumentAuthorTrial
0040,A068,SQ,1,DocumentAuthorIdentifierCodeSequenceTrial
0040,A070,SQ,1,IdentifierCodeSequenceTrial
0040,A074,OB,1,ObjectBinaryIdentifierTrial
0040,A076,SQ,1,DocumentingObserverIdentifierCodeSequenceTrial
0040,A078,SQ,1,AuthorObserverSequence
0040,A07A,SQ,1,ParticipantSequence
0040,A07C,SQ,1,CustodialOrganizationSequence
0040,A080,CS,1,ParticipationType
0040,A082,DT,1,ParticipationDateTime
0040,A084,CS,1,ObserverType
0040,A085,SQ,1,ProcedureIdentifierCodeSequenceTrial
0040,A089,OB,1,ObjectDirectoryBinaryIdentifierTrial
0040,A090,SQ,1,EquivalentCDADocumentSequence
0040,A110,DA,1,DateOfDocumentOrVerbalTransactionTrial
0040,A112,TM,1,TimeOfDocumentCreationOrVerbalTransactionTrial
0040,A125,CS,2,ReportStatusIDTrial
0040,A167,SQ,1,ObservationCategoryCodeSequenceTrial
0040,A16A,ST,1,BibliographicCitationTrial
0040,A171,UI,1,ObservationUIDTrial
0040,A172,UI,1,ReferencedObservationUIDTrial
0040,A173,CS,1,ReferencedObservationClassTrial
0040,A174,CS,1,ReferencedObjectObservationClassTrial
0040,A192,DA,1,ObservationDateTrial
0040,A193,TM,1,ObservationTimeTrial
0040,A194,CS,1,MeasurementAutomationTrial
0040,A224,ST,1,IdentificationDescriptionTrial
0040,A290,CS,1,CoordinatesSetGeometricTypeTrial
0040,A296,SQ,1,AlgorithmCodeSequenceTrial
0040,A297,ST,1,AlgorithmDescriptionTrial
0040,A29A,SL,2-2n,PixelCoordinatesSetTrial
0040,A307,PN,1,CurrentObserverTrial
0040,A313,SQ,1,ReferencedAccessionSequenceTrial
0040,A33A,ST,1,ReportStatusCommentTrial
0040,A340,SQ,1,ProcedureContextSequenceTrial
0040,A352,PN,1,VerbalSourceTrial
0040,A353,ST,1,AddressTrial
0040,A354,LO,1,TelephoneNumberTrial
0040,A358,SQ,1,VerbalSourceIdentifierCodeSequenceTrial
0040,A380,SQ,1,ReportDetailSequenceTrial
0040,A402,UI,1,ObservationSubjectUIDTrial
0040,A403,CS,1,ObservationSubjectClassTrial
0040,A404,SQ,1,ObservationSubjectTypeCodeSequenceTrial
0040,A494,CS,1,ArchiveRequested
0040,A496,CS,1,PreliminaryFlag
0040,A600,CS,1,ObservationSubjectContextFlagTrial
0040,A601,CS,1,ObserverContextFlagTrial
0040,A603,CS,1,ProcedureContextFlagTrial
0040,A731,SQ,1,RelationshipSequenceTrial
0040,A732,SQ,1,RelationshipTypeCodeSequenceTrial
0040,A744,SQ,1,LanguageCodeSequenceTrial
0040,A992,ST,1,UniformResourceLocatorTrial
0040,E008,SQ,1,DocumentClassCodeSequence
0040,E011,UI,1,RetrieveLocationUID
0040,E020,CS,1,TypeOfInstances
0040,E021,SQ,1,DICOMRetrievalSequence
0040,E022,SQ,1,DICOMMediaRetrievalSequence
0040,E023,CS,1,WADORetrievalSequence
0040,E024,CS,1,XDSRetrievalSequence
0040,E030,UI,1,RepositoryUniqueID
0040,E031,UI,1,HomeCommunityID
0042,0014,LO,1-n,ListOfMIMETypes
0044,0001,ST,1,ProductPackageIdentifier
0044,0002,CS,1,SubstanceAdministrationApproval
0044,0003,LT,1,ApprovalStatusFurtherDescription
0044,0004,DT,1,ApprovalStatusDateTime
0044,0007,SQ,1,ProductTypeCodeSequence
0044,0008,LO,1-n,ProductName
0044,0009,LT,1,ProductDescription
0044,000A,LO,1,ProductLotIdentifier
0044,000B,DT,1,ProductExpirationDateTime
0044,0010,DT,1,SubstanceAdministrationDateTime
0044,0011,LO,1,SubstanceAdministrationNotes
0044,0012,LO,1,SubstanceAdministrationDeviceID
0044,0013,SQ,1,ProductParameterSequence
0044,0019,SQ,1,SubstanceAdministrationParameterSequence
0046,0012,LO,1,LensDescription
0046,0014,SQ,1,RightLensSequence
0046,0015,SQ,1,LeftLensSequence
0046,0016,SQ,1,UnspecifiedLateralityLensSequence
0046,0018,SQ,1,CylinderSequence
0046,0028,SQ,1,PrismSequence
0046,0030,FD,1,HorizontalPrismPower
0046,0032,CS,1,HorizontalPrismBase
0046,0034,FD,1,VerticalPrismPower
0046,0036,CS,1,VerticalPrismBase
0046,0038,CS,1,LensSegmentType
0046,0040,FD,1,OpticalTransmittance
0046,0042,FD,1,ChannelWidth
0046,0044,FD,1,PupilSize
0046,0046,FD,1,CornealSize
0046,0050,SQ,1,AutorefractionRightEyeSequence
0046,0052,SQ,1,AutorefractionLeftEyeSequence
0046,0060,FD,1,DistancePupillaryDistance
0046,0062,FD,1,NearPupillaryDistance
0046,0063,FD,1,IntermediatePupillaryDistance
0046,0064,FD,1,OtherPupillaryDistance
0046,0070,SQ,1,KeratometryRightEyeSequence
0046,0071,SQ,1,KeratometryLeftEyeSequence
0046,0074,SQ,1,SteepKeratometricAxisSequence
0046,0075,FD,1,RadiusOfCurvature
0046,0076,FD,1,KeratometricPower
0046,0077,FD,1,KeratometricAxis
0046,0080,SQ,1,FlatKeratometricAxisSequence
0046,0092,CS,1,BackgroundColor
0046,0094,CS,1,Optotype
0046,0095,CS,1,OptotypePresentation
0046,0097,SQ,1,SubjectiveRefractionRightEyeSequence
0046,0098,SQ,1,SubjectiveRefractionLeftEyeSequence
0046,0100,SQ,1,AddNearSequence
0046,0101,SQ,1,AddIntermediateSequence
0046,0102,SQ,1,AddOtherSequence
0046,0104,FD,1,AddPower
0046,0106,FD,1,ViewingDistance
0046,0121,SQ,1,VisualAcuityTypeCodeSequence
0046,0122,SQ,1,VisualAcuityRightEyeSequence
0046,0123,SQ,1,VisualAcuityLeftEyeSequence
0046,0124,SQ,1,VisualAcuityBothEyesOpenSequence
0046,0125,CS,1,ViewingDistanceType
0046,0135,SS,2,VisualAcuityModifiers
0046,0137,FD,1,DecimalVisualAcuity
0046,0139,LO,1,OptotypeDetailedDefinition
0046,0145,SQ,1,ReferencedRefractiveMeasurementsSequence
0046,0146,FD,1,SpherePower
0046,0147,FD,1,CylinderPower
0048,0001,FL,1,ImagedVolumeWidth
0048,0002,FL,1,ImagedVolumeHeight
0048,0003,FL,1,ImagedVolumeDepth
0048,0006,UL,1,TotalPixelMatrixColumns
0048,0007,UL,1,TotalPixelMatrixRows
0048,0008,SQ,1,TotalPixelMatrixOriginSequence
0048,0010,CS,1,SpecimenLabelInImage
0048,0011,CS,1,FocusMethod
0048,0012,CS,1,ExtendedDepthOfField
0048,0013,US,1,NumberOfFocalPlanes
0048,0014,FL,1,DistanceBetweenFocalPlanes
0048,0015,US,3,RecommendedAbsentPixelCIELabValue
0048,0100,SQ,1,IlluminatorTypeCodeSequence
0048,0102,DS,6,ImageOrientationSlide
0048,0105,SQ,1,OpticalPathSequence
0048,0106,SH,1,OpticalPathIdentifier
0048,0107,ST,1,OpticalPathDescription
0048,0108,SQ,1,IlluminationColorCodeSequence
0048,0110,SQ,1,SpecimenReferenceSequence
0048,0111,DS,1,CondenserLensPower
0048,0112,DS,1,ObjectiveLensPower
0048,0113,DS,1,ObjectiveLensNumericalAperture
0048,0120,SQ,1,PaletteColorLookupTableSequence
0048,0200,SQ,1,ReferencedImageNavigationSequence
0048,0201,US,2,TopLeftHandCornerOfLocalizerArea
0048,0202,US,2,BottomRightHandCornerOfLocalizerArea
0048,0207,SQ,1,OpticalPathIdentificationSequence
0048,021A,SQ,1,PlanePositionSlideSequence
0048,021E,SL,1,RowPositionInTotalImagePixelMatrix
0048,021F,SL,1,ColumnPositionInTotalImagePixelMatrix
0048,0301,CS,1,PixelOriginInterpretation
0050,0012,SQ,1,ContainerComponentTypeCodeSequence
0050,0013,FD,1,ContainerComponentThickness
0050,0015,FD,1,ContainerComponentWidth
0050,001A,CS,1,ContainerComponentMaterial
0050,001B,LO,1,ContainerComponentID
0050,001C,FD,1,ContainerComponentLength
0050,001D,FD,1,ContainerComponentDiameter
0050,001E,LO,1,ContainerComponentDescription
0052,0001,FL,1,ContrastBolusIngredientPercentByVolume
0052,0002,FD,1,OCTFocalDistance
0052,0003,FD,1,BeamSpotSize
0052,0004,FD,1,EffectiveRefractiveIndex
0052,0006,CS,1,OCTAcquisitionDomain
0052,0007,FD,1,OCTOpticalCenterWavelength
0052,0008,FD,1,AxialResolution
0052,0009,FD,1,RangingDepth
0052,0011,FD,1,ALineRate
0052,0012,US,1,ALinesPerFrame
0052,0013,FD,1,CatheterRotationalRate
0052,0014,FD,1,ALinePixelSpacing
0052,0016,SQ,1,ModeOfPercutaneousAccessSequence
0052,0025,SQ,1,IntravascularOCTFrameTypeSequence
0052,0026,CS,1,OCTZOffsetApplied
0052,0027,SQ,1,IntravascularFrameContentSequence
0052,0028,FD,1,IntravascularLongitudinalDistance
0052,0029,SQ,1,IntravascularOCTFrameContentSequence
0052,0030,SS,1,OCTZOffsetCorrection
0052,0031,CS,1,CatheterDirectionOfRotation
0052,0033,FD,1,SeamLineLocation
0052,0034,FD,1,FirstALineLocation
0052,0036,US,1,SeamLineIndex
0052,0038,US,1,NumberOfPaddedAlines
0052,0039,CS,1,InterpolationType
0052,003A,CS,1,RefractiveIndexApplied
0054,1006,CS,1,SUVType
0062,0001,CS,1,SegmentationType
0062,0002,SQ,1,SegmentSequence
0062,0003,SQ,1,SegmentedPropertyCategoryCodeSequence
0062,0004,US,1,SegmentNumber
0062,0005,LO,1,SegmentLabel
0062,0006,ST,1,SegmentDescription
0062,0008,CS,1,SegmentAlgorithmType
0062,0009,LO,1,SegmentAlgorithmName
0062,000A,SQ,1,SegmentIdentificationSequence
0062,000B,US,1-n,ReferencedSegmentNumber
0062,000C,US,1,RecommendedDisplayGrayscaleValue
0062,000D,US,3,RecommendedDisplayCIELabValue
0062,000E,US,1,MaximumFractionalValue
0062,000F,SQ,1,SegmentedPropertyTypeCodeSequence
0062,0010,CS,1,SegmentationFractionalType
0064,0002,SQ,1,DeformableRegistrationSequence
0064,0003,UI,1,SourceFrameOfReferenceUID
0064,0005,SQ,1,DeformableRegistrationGridSequence
0064,0007,UL,3,GridDimensions
0064,0008,FD,3,GridResolution
0064,0009,OF,1,VectorGridData
0064,000F,SQ,1,PreDeformationMatrixRegistrationSequence
0064,0010,SQ,1,PostDeformationMatrixRegistrationSequence
0066,0001,UL,1,NumberOfSurfaces
0066,0002,SQ,1,SurfaceSequence
0066,0003,UL,1,SurfaceNumber
0066,0004,LT,1,SurfaceComments
0066,0009,CS,1,SurfaceProcessing
0066,000A,FL,1,SurfaceProcessingRatio
0066,000B,LO,1,SurfaceProcessingDescription
0066,000C,FL,1,RecommendedPresentationOpacity
0066,000D,CS,1,RecommendedPresentationType
0066,000E,CS,1,FiniteVolume
0066,0010,CS,1,Manifold
0066,0011,SQ,1,SurfacePointsSequence
0066,0012,SQ,1,SurfacePointsNormalsSequence
0066,0013,SQ,1,SurfaceMeshPrimitivesSequence
0066,0015,UL,1,NumberOfSurfacePoints
0066,0016,OF,1,PointCoordinatesData
0066,0017,FL,3,PointPositionAccuracy
0066,0018,FL,1,MeanPointDistance
0066,0019,FL,1,MaximumPointDistance
0066,001A,FL,6,PointsBoundingBoxCoordinates
0066,001B,FL,3,AxisOfRotation
0066,001C,FL,3,CenterOfRotation
0066,001E,UL,1,NumberOfVectors
0066,001F,US,1,VectorDimensionality
0066,0020,FL,1-n,VectorAccuracy
0066,0021,OF,1,VectorCoordinateData
0066,0023,OW,1,TrianglePointIndexList
0066,0024,OW,1,EdgePointIndexList
0066,0025,OW,1,VertexPointIndexList
0066,0026,SQ,1,TriangleStripSequence
0066,0027,SQ,1,TriangleFanSequence
0066,0028,SQ,1,LineSequence
0066,0029,OW,1,PrimitivePointIndexList
0066,002A,UL,1,SurfaceCount
0066,002B,SQ,1,ReferencedSurfaceSequence
0066,002C,UL,1,ReferencedSurfaceNumber
0066,002D,SQ,1,SegmentSurfaceGenerationAlgorithmIdentificationSequence
0066,002E,SQ,1,SegmentSurfaceSourceInstanceSequence
0066,002F,SQ,1,AlgorithmFamilyCodeSequence
0066,0030,SQ,1,AlgorithmNameCodeSequence
0066,0031,LO,1,AlgorithmVersion
0066,0032,LT,1,AlgorithmParameters
0066,0034,SQ,1,FacetSequence
0066,0035,SQ,1,SurfaceProcessingAlgorithmIdentificationSequence
0066,0036,LO,1,AlgorithmName
0068,6210,LO,1,ImplantSize
0068,6221,LO,1,ImplantTemplateVersion
0068,6222,SQ,1,ReplacedImplantTemplateSequence
0068,6223,CS,1,ImplantType
0068,6224,SQ,1,DerivationImplantTemplateSequence
0068,6225,SQ,1,OriginalImplantTemplateSequence
0068,6226,DT,1,EffectiveDateTime
0068,6230,SQ,1,ImplantTargetAnatomySequence
0068,6260,SQ,1,InformationFromManufacturerSequence
0068,6265,SQ,1,NotificationFromManufacturerSequence
0068,6270,DT,1,InformationIssueDateTime
0068,6280,ST,1,InformationSummary
0068,62A0,SQ,1,ImplantRegulatoryDisapprovalCodeSequence
0068,62A5,FD,1,OverallTemplateSpatialTolerance
0068,62C0,SQ,1,HPGLDocumentSequence
0068,62D0,US,1,HPGLDocumentID
0068,62D5,LO,1,HPGLDocumentLabel
0068,62E0,SQ,1,ViewOrientationCodeSequence
0068,62F0,FD,9,ViewOrientationModifier
0068,62F2,FD,1,HPGLDocumentScaling
0068,6300,OB,1,HPGLDocument
0068,6310,US,1,HPGLContourPenNumber
0068,6320,SQ,1,HPGLPenSequence
0068,6330,US,1,HPGLPenNumber
0068,6340,LO,1,HPGLPenLabel
0068,6345,ST,1,HPGLPenDescription
0068,6346,FD,2,RecommendedRotationPoint
0068,6347,FD,4,BoundingRectangle
0068,6350,US,1-n,ImplantTemplate3DModelSurfaceNumber
0068,6360,SQ,1,SurfaceModelDescriptionSequence
0068,6380,LO,1,SurfaceModelLabel
0068,6390,FD,1,SurfaceModelScalingFactor
0068,63A0,SQ,1,MaterialsCodeSequence
0068,63A4,SQ,1,CoatingMaterialsCodeSequence
0068,63A8,SQ,1,ImplantTypeCodeSequence
0068,63AC,SQ,1,FixationMethodCodeSequence
0068,63B0,SQ,1,MatingFeatureSetsSequence
0068,63C0,US,1,MatingFeatureSetID
0068,63D0,LO,1,MatingFeatureSetLabel
0068,63E0,SQ,1,MatingFeatureSequence
0068,63F0,US,1,MatingFeatureID
0068,6400,SQ,1,MatingFeatureDegreeOfFreedomSequence
0068,6410,US,1,DegreeOfFreedomID
0068,6420,CS,1,DegreeOfFreedomType
0068,6430,SQ,1,TwoDMatingFeatureCoordinatesSequence
0068,6440,US,1,ReferencedHPGLDocumentID
0068,6450,FD,2,TwoDMatingPoint
0068,6460,FD,4,TwoDMatingAxes
0068,6470,SQ,1,TwoDDegreeOfFreedomSequence
0068,6490,FD,3,ThreeDDegreeOfFreedomAxis
0068,64A0,FD,2,RangeOfFreedom
0068,64C0,FD,3,ThreeDMatingPoint
0068,64D0,FD,9,ThreeDMatingAxes
0068,64F0,FD,3,TwoDDegreeOfFreedomAxis
0068,6500,SQ,1,PlanningLandmarkPointSequence
0068,6510,SQ,1,PlanningLandmarkLineSequence
0068,6520,SQ,1,PlanningLandmarkPlaneSequence
0068,6530,US,1,PlanningLandmarkID
0068,6540,LO,1,PlanningLandmarkDescription
0068,6545,SQ,1,PlanningLandmarkIdentificationCodeSequence
0068,6550,SQ,1,TwoDPointCoordinatesSequence
0068,6560,FD,2,TwoDPointCoordinates
0068,6590,FD,3,ThreeDPointCoordinates
0068,65A0,SQ,1,TwoDLineCoordinatesSequence
0068,65B0,FD,4,TwoDLineCoordinates
0068,65D0,FD,6,ThreeDLineCoordinates
0068,65E0,SQ,1,TwoDPlaneCoordinatesSequence
0068,65F0,FD,4,TwoDPlaneIntersection
0068,6610,FD,3,ThreeDPlaneOrigin
0068,6620,FD,3,ThreeDPlaneNormal
0070,0040,IS,1,ImageRotationRetired
0070,0050,US,2,DisplayedAreaTopLeftHandCornerTrial
0070,0051,US,2,DisplayedAreaBottomRightHandCornerTrial
0070,0087,SQ,1,AlternateContentDescriptionSequence
0070,0207,LO,1,GraphicGroupLabel
0070,0208,ST,1,GraphicGroupDescription
0070,0209,SQ,1,CompoundGraphicSequence
0070,0226,UL,1,CompoundGraphicInstanceID
0070,0227,LO,1,FontName
0070,0228,CS,1,FontNameType
0070,0229,LO,1,CSSFontName
0070,0230,FD,1,RotationAngle
0070,0231,SQ,1,TextStyleSequence
0070,0232,SQ,1,LineStyleSequence
0070,0233,SQ,1,FillStyleSequence
0070,0234,SQ,1,GraphicGroupSequence
0070,0241,US,3,TextColorCIELabValue
0070,0242,CS,1,HorizontalAlignment
0070,0243,CS,1,VerticalAlignment
0070,0244,CS,1,ShadowStyle
0070,0245,FL,1,ShadowOffsetX
0070,0246,FL,1,ShadowOffsetY
0070,0247,US,3,ShadowColorCIELabValue
0070,0248,CS,1,Underlined
0070,0249,CS,1,Bold
0070,0250,CS,1,Italic
0070,0251,US,3,PatternOnColorCIELabValue
0070,0252,US,3,PatternOffColorCIELabValue
0070,0253,FL,1,LineThickness
0070,0254,CS,1,LineDashingStyle
0070,0255,UL,1,LinePattern
0070,0256,OB,1,FillPattern
0070,0257,CS,1,FillMode
0070,0258,FL,1,ShadowOpacity
0070,0261,FL,1,GapLength
0070,0262,FL,1,DiameterOfVisibility
0070,0273,FL,2,RotationPoint
0070,0274,CS,1,TickAlignment
0070,0278,CS,1,ShowTickLabel
0070,0279,CS,1,TickLabelAlignment
0070,0282,CS,1,CompoundGraphicUnits
0070,0284,FL,1,PatternOnOpacity
0070,0285,FL,1,PatternOffOpacity
0070,0287,SQ,1,MajorTicksSequence
0070,0288,FL,1,TickPosition
0070,0289,SH,1,TickLabel
0070,0294,CS,1,CompoundGraphicType
0070,0295,UL,1,GraphicGroupID
0070,0401,US,3,GraphicLayerRecommendedDisplayCIELabValue
0070,0402,SQ,1,BlendingSequence
0070,0403,FL,1,RelativeOpacity
0070,0404,SQ,1,ReferencedSpatialRegistrationSequence
0070,0405,CS,1,BlendingPosition
0072,0002,SH,1,HangingProtocolName
0072,0004,LO,1,HangingProtocolDescription
0072,0006,CS,1,HangingProtocolLevel
0072,0008,LO,1,HangingProtocolCreator
0072,000A,DT,1,HangingProtocolCreationDateTime
0072,000C,SQ,1,HangingProtocolDefinitionSequence
0072,000E,SQ,1,HangingProtocolUserIdentificationCodeSequence
0072,0010,LO,1,HangingProtocolUserGroupName
0072,0012,SQ,1,SourceHangingProtocolSequence
0072,0014,US,1,NumberOfPriorsReferenced
0072,0020,SQ,1,ImageSetsSequence
0072,0022,SQ,1,ImageSetSelectorSequence
0072,0024,CS,1,ImageSetSelectorUsageFlag
0072,0026,AT,1,SelectorAttribute
0072,0028,US,1,SelectorValueNumber
0072,0030,SQ,1,TimeBasedImageSetsSequence
0072,0032,US,1,ImageSetNumber
0072,0034,CS,1,ImageSetSelectorCategory
0072,0038,US,2,RelativeTime
0072,003A,CS,1,RelativeTimeUnits
0072,003C,SS,2,AbstractPriorValue
0072,003E,SQ,1,AbstractPriorCodeSequence
0072,0040,LO,1,ImageSetLabel
0072,0050,CS,1,SelectorAttributeVR
0072,0052,AT,1-n,SelectorSequencePointer
0072,0054,LO,1-n,SelectorSequencePointerPrivateCreator
0072,0056,LO,1,SelectorAttributePrivateCreator
0072,0060,AT,1-n,SelectorATValue
0072,0062,CS,1-n,SelectorCSValue
0072,0064,IS,1-n,SelectorISValue
0072,0066,LO,1-n,SelectorLOValue
0072,0068,LT,1,SelectorLTValue
0072,006A,PN,1-n,SelectorPNValue
0072,006C,SH,1-n,SelectorSHValue
0072,006E,ST,1,SelectorSTValue
0072,0070,UT,1,SelectorUTValue
0072,0072,DS,1-n,SelectorDSValue
0072,0074,FD,1-n,SelectorFDValue
0072,0076,FL,1-n,SelectorFLValue
0072,0078,UL,1-n,SelectorULValue
0072,007A,US,1-n,SelectorUSValue
0072,007C,SL,1-n,SelectorSLValue
0072,007E,SS,1-n,SelectorSSValue
0072,0080,SQ,1,SelectorCodeSequenceValue
0072,0100,US,1,NumberOfScreens
0072,0102,SQ,1,NominalScreenDefinitionSequence
0072,0104,US,1,NumberOfVerticalPixels
0072,0106,US,1,NumberOfHorizontalPixels
0072,0108,FD,4,DisplayEnvironmentSpatialPosition
0072,010A,US,1,ScreenMinimumGrayscaleBitDepth
0072,010C,US,1,ScreenMinimumColorBitDepth
0072,010E,US,1,ApplicationMaximumRepaintTime
0072,0200,SQ,1,DisplaySetsSequence
0072,0202,US,1,DisplaySetNumber
0072,0203,LO,1,DisplaySetLabel
0072,0204,US,1,DisplaySetPresentationGroup
0072,0206,LO,1,DisplaySetPresentationGroupDescription
0072,0208,CS,1,PartialDataDisplayHandling
0072,0210,SQ,1,SynchronizedScrollingSequence
0072,0212,US,2-n,DisplaySetScrollingGroup
0072,0214,SQ,1,NavigationIndicatorSequence
0072,0216,US,1,NavigationDisplaySet
0072,0218,US,1-n,ReferenceDisplaySets
0072,0300,SQ,1,ImageBoxesSequence
0072,0302,US,1,ImageBoxNumber
0072,0304,CS,1,ImageBoxLayoutType
0072,0306,US,1,ImageBoxTileHorizontalDimension
0072,0308,US,1,ImageBoxTileVerticalDimension
0072,0310,CS,1,ImageBoxScrollDirection
0072,0312,CS,1,ImageBoxSmallScrollType
0072,0314,US,1,ImageBoxSmallScrollAmount
0072,0316,CS,1,ImageBoxLargeScrollType
0072,0318,US,1,ImageBoxLargeScrollAmount
0072,0320,US,1,ImageBoxOverlapPriority
0072,0330,FD,1,CineRelativeToRealTime
0072,0400,SQ,1,FilterOperationsSequence
0072,0402,CS,1,FilterByCategory
0072,0404,CS,1,FilterByAttributePresence
0072,0406,CS,1,FilterByOperator
0072,0420,US,3,StructuredDisplayBackgroundCIELabValue
0072,0421,US,3,EmptyImageBoxCIELabValue
0072,0422,SQ,1,StructuredDisplayImageBoxSequence
0072,0424,SQ,1,StructuredDisplayTextBoxSequence
0072,0427,SQ,1,ReferencedFirstFrameSequence
0072,0430,SQ,1,ImageBoxSynchronizationSequence
0072,0432,US,2-n,SynchronizedImageBoxList
0072,0434,CS,1,TypeOfSynchronization
0072,0500,CS,1,BlendingOperationType
0072,0510,CS,1,ReformattingOperationType
0072,0512,FD,1,ReformattingThickness
0072,0514,FD,1,ReformattingInterval
0072,0516,CS,1,ReformattingOperationInitialViewDirection
0072,0520,CS,1-n,ThreeDRenderingType
0072,0600,SQ,1,SortingOperationsSequence
0072,0602,CS,1,SortByCategory
0072,0604,CS,1,SortingDirection
0072,0700,CS,2,DisplaySetPatientOrientation
0072,0702,CS,1,VOIType
0072,0704,CS,1,PseudoColorType
0072,0705,SQ,1,PseudoColorPaletteInstanceReferenceSequence
0072,0706,CS,1,ShowGrayscaleInverted
0072,0710,CS,1,ShowImageTrueSizeFlag
0072,0712,CS,1,ShowGraphicAnnotationFlag
0072,0714,CS,1,ShowPatientDemographicsFlag
0072,0716,CS,1,ShowAcquisitionTechniquesFlag
0072,0717,CS,1,DisplaySetHorizontalJustification
0072,0718,CS,1,DisplaySetVerticalJustification
0074,0120,FD,1,ContinuationStartMeterset
0074,0121,FD,1,ContinuationEndMeterset
0074,1000,CS,1,ProcedureStepState
0074,1002,SQ,1,ProcedureStepProgressInformationSequence
0074,1004,DS,1,ProcedureStepProgress
0074,1006,ST,1,ProcedureStepProgressDescription
0074,1008,SQ,1,ProcedureStepCommunicationsURISequence
0074,100a,ST,1,ContactURI
0074,100c,LO,1,ContactDisplayName
0074,100e,SQ,1,ProcedureStepDiscontinuationReasonCodeSequence
0074,1020,SQ,1,BeamTaskSequence
0074,1022,CS,1,BeamTaskType
0074,1024,IS,1,BeamOrderIndexTrial
0074,1026,FD,1,TableTopVerticalAdjustedPosition
0074,1027,FD,1,TableTopLongitudinalAdjustedPosition
0074,1028,FD,1,TableTopLateralAdjustedPosition
0074,102A,FD,1,PatientSupportAdjustedAngle
0074,102B,FD,1,TableTopEccentricAdjustedAngle
0074,102C,FD,1,TableTopPitchAdjustedAngle
0074,102D,FD,1,TableTopRollAdjustedAngle
0074,1030,SQ,1,DeliveryVerificationImageSequence
0074,1032,CS,1,VerificationImageTiming
0074,1034,CS,1,DoubleExposureFlag
0074,1036,CS,1,DoubleExposureOrdering
0074,1038,DS,1,DoubleExposureMetersetTrial
0074,103A,DS,4,DoubleExposureFieldDeltaTrial
0074,1040,SQ,1,RelatedReferenceRTImageSequence
0074,1042,SQ,1,GeneralMachineVerificationSequence
0074,1044,SQ,1,ConventionalMachineVerificationSequence
0074,1046,SQ,1,IonMachineVerificationSequence
0074,1048,SQ,1,FailedAttributesSequence
0074,104A,SQ,1,OverriddenAttributesSequence
0074,104C,SQ,1,ConventionalControlPointVerificationSequence
0074,104E,SQ,1,IonControlPointVerificationSequence
0074,1050,SQ,1,AttributeOccurrenceSequence
0074,1052,AT,1,AttributeOccurrencePointer
0074,1054,UL,1,AttributeItemSelector
0074,1056,LO,1,AttributeOccurrencePrivateCreator
0074,1057,IS,1-n,SelectorSequencePointerItems
0074,1200,CS,1,ScheduledProcedureStepPriority
0074,1202,LO,1,WorklistLabel
0074,1204,LO,1,ProcedureStepLabel
0074,1210,SQ,1,ScheduledProcessingParametersSequence
0074,1212,SQ,1,PerformedProcessingParametersSequence
0074,1216,SQ,1,UnifiedProcedureStepPerformedProcedureSequence
0074,1220,SQ,1,RelatedProcedureStepSequence
0074,1222,LO,1,ProcedureStepRelationshipType
0074,1224,SQ,1,ReplacedProcedureStepSequence
0074,1230,LO,1,DeletionLock
0074,1234,AE,1,ReceivingAE
0074,1236,AE,1,RequestingAE
0074,1238,LT,1,ReasonForCancellation
0074,1242,CS,1,SCPStatus
0074,1244,CS,1,SubscriptionListStatus
0074,1246,CS,1,UnifiedProcedureStepListStatus
0074,1324,UL,1,BeamOrderIndex
0074,1338,FD,1,DoubleExposureMeterset
0074,133A,FD,4,DoubleExposureFieldDelta
0076,0001,LO,1,ImplantAssemblyTemplateName
0076,0003,LO,1,ImplantAssemblyTemplateIssuer
0076,0006,LO,1,ImplantAssemblyTemplateVersion
0076,0008,SQ,1,ReplacedImplantAssemblyTemplateSequence
0076,000A,CS,1,ImplantAssemblyTemplateType
0076,000C,SQ,1,OriginalImplantAssemblyTemplateSequence
0076,000E,SQ,1,DerivationImplantAssemblyTemplateSequence
0076,0010,SQ,1,ImplantAssemblyTemplateTargetAnatomySequence
0076,0020,SQ,1,ProcedureTypeCodeSequence
0076,0030,LO,1,SurgicalTechnique
0076,0032,SQ,1,ComponentTypesSequence
0076,0034,CS,1,ComponentTypeCodeSequence
0076,0036,CS,1,ExclusiveComponentType
0076,0038,CS,1,MandatoryComponentType
0076,0040,SQ,1,ComponentSequence
0076,0055,US,1,ComponentID
0076,0060,SQ,1,ComponentAssemblySequence
0076,0070,US,1,Component1ReferencedID
0076,0080,US,1,Component1ReferencedMatingFeatureSetID
0076,0090,US,1,Component1ReferencedMatingFeatureID
0076,00A0,US,1,Component2ReferencedID
0076,00B0,US,1,Component2ReferencedMatingFeatureSetID
0076,00C0,US,1,Component2ReferencedMatingFeatureID
0078,0001,LO,1,ImplantTemplateGroupName
0078,0010,ST,1,ImplantTemplateGroupDescription
0078,0020,LO,1,ImplantTemplateGroupIssuer
0078,0024,LO,1,ImplantTemplateGroupVersion
0078,0026,SQ,1,ReplacedImplantTemplateGroupSequence
0078,0028,SQ,1,ImplantTemplateGroupTargetAnatomySequence
0078,002A,SQ,1,ImplantTemplateGroupMembersSequence
0078,002E,US,1,ImplantTemplateGroupMemberID
0078,0050,FD,3,ThreeDImplantTemplateGroupMemberMatchingPoint
0078,0060,FD,9,ThreeDImplantTemplateGroupMemberMatchingAxes
0078,0070,SQ,1,ImplantTemplateGroupMemberMatching2DCoordinatesSequence
0078,0090,FD,2,TwoDImplantTemplateGroupMemberMatchingPoint
0078,00A0,FD,4,TwoDImplantTemplateGroupMemberMatchingAxes
0078,00B0,SQ,1,ImplantTemplateGroupVariationDimensionSequence
0078,00B2,LO,1,ImplantTemplateGroupVariationDimensionName
0078,00B4,SQ,1,ImplantTemplateGroupVariationDimensionRankSequence
0078,00B6,US,1,ReferencedImplantTemplateGroupMemberID
0078,00B8,US,1,ImplantTemplateGroupVariationDimensionRank
0400,0561,SQ,1,OriginalAttributesSequence
0400,0562,DT,1,AttributeModificationDateTime
0400,0563,LO,1,ModifyingSystem
0400,0564,LO,1,SourceOfPreviousValues
0400,0565,CS,1,ReasonForTheAttributeModification
3002,0050,SQ,1,PrimaryFluenceModeSequence
3002,0051,CS,1,FluenceMode
3002,0052,SH,1,FluenceModeID
3006,00B6,SQ,1,ROIElementalCompositionSequence
3006,00B7,US,1,ROIElementalCompositionAtomicNumber
3006,00B8,FL,1,ROIElementalCompositionAtomicMassFraction
3008,0065,AT,1,ParameterPointer
3008,0068,SQ,1,CorrectedParameterSequence
3008,006A,FL,1,CorrectionValue
3008,00F0,SQ,1,RecordedSnoutSequence
3008,00F2,SQ,1,RecordedRangeShifterSequence
3008,00F4,SQ,1,RecordedLateralSpreadingDeviceSequence
3008,00F6,SQ,1,RecordedRangeModulatorSequence
300A,0088,FL,1,BeamDosePointDepth
300A,0089,FL,1,BeamDosePointEquivalentDepth
300A,008A,FL,1,BeamDosePointSSD
300A,00BB,FL,1,IsocenterToBeamLimitingDeviceDistance
300A,00D7,FL,1,TotalWedgeTrayWaterEquivalentThickness
300A,00D9,FL,1,IsocenterToWedgeTrayDistance
300A,00DB,FL,1,WedgeThinEdgePosition
300A,00DC,SH,1,BolusID
300A,00DD,ST,1,BolusDescription
300A,0140,FL,1,TableTopPitchAngle
300A,0142,CS,1,TableTopPitchRotationDirection
300A,0144,FL,1,TableTopRollAngle
300A,0146,CS,1,TableTopRollRotationDirection
300A,0148,FL,1,HeadFixationAngle
300A,014A,FL,1,GantryPitchAngle
300A,014C,CS,1,GantryPitchRotationDirection
300A,014E,FL,1,GantryPitchAngleTolerance
300A,0183,LO,1,PatientSetupLabel
300A,0199,FL,1,FixationDevicePitchAngle
300A,019A,FL,1,FixationDeviceRollAngle
300A,02E3,FL,1,TotalCompensatorTrayWaterEquivalentThickness
300A,02E4,FL,1,IsocenterToCompensatorTrayDistance
300A,02E5,FL,1,CompensatorColumnOffset
300A,02E6,FL,1-n,IsocenterToCompensatorDistances
300A,02E7,FL,1,CompensatorRelativeStoppingPowerRatio
300A,02E8,FL,1,CompensatorMillingToolDiameter
300A,02EA,SQ,1,IonRangeCompensatorSequence
300A,02EB,LT,1,CompensatorDescription
300A,0302,IS,1,RadiationMassNumber
300A,0304,IS,1,RadiationAtomicNumber
300A,0306,SS,1,RadiationChargeState
300A,0308,CS,1,ScanMode
300A,030A,FL,2,VirtualSourceAxisDistances
300A,030C,SQ,1,SnoutSequence
300A,030D,FL,1,SnoutPosition
300A,030F,SH,1,SnoutID
300A,0312,IS,1,NumberOfRangeShifters
300A,0314,SQ,1,RangeShifterSequence
300A,0316,IS,1,RangeShifterNumber
300A,0318,SH,1,RangeShifterID
300A,0320,CS,1,RangeShifterType
300A,0322,LO,1,RangeShifterDescription
300A,0330,IS,1,NumberOfLateralSpreadingDevices
300A,0332,SQ,1,LateralSpreadingDeviceSequence
300A,0334,IS,1,LateralSpreadingDeviceNumber
300A,0336,SH,1,LateralSpreadingDeviceID
300A,0338,CS,1,LateralSpreadingDeviceType
300A,033A,LO,1,LateralSpreadingDeviceDescription
300A,033C,FL,1,LateralSpreadingDeviceWaterEquivalentThickness
300A,0340,IS,1,NumberOfRangeModulators
300A,0342,SQ,1,RangeModulatorSequence
300A,0344,IS,1,RangeModulatorNumber
300A,0346,SH,1,RangeModulatorID
300A,0348,CS,1,RangeModulatorType
300A,034A,LO,1,RangeModulatorDescription
300A,034C,SH,1,BeamCurrentModulationID
300A,0350,CS,1,PatientSupportType
300A,0352,SH,1,PatientSupportID
300A,0354,LO,1,PatientSupportAccessoryCode
300A,0356,FL,1,FixationLightAzimuthalAngle
300A,0358,FL,1,FixationLightPolarAngle
300A,035A,FL,1,MetersetRate
300A,0360,SQ,1,RangeShifterSettingsSequence
300A,0362,LO,1,RangeShifterSetting
300A,0364,FL,1,IsocenterToRangeShifterDistance
300A,0366,FL,1,RangeShifterWaterEquivalentThickness
300A,0370,SQ,1,LateralSpreadingDeviceSettingsSequence
300A,0372,LO,1,LateralSpreadingDeviceSetting
300A,0374,FL,1,IsocenterToLateralSpreadingDeviceDistance
300A,0380,SQ,1,RangeModulatorSettingsSequence
300A,0382,FL,1,RangeModulatorGatingStartValue
300A,0384,FL,1,RangeModulatorGatingStopValue
300A,0386,FL,1,RangeModulatorGatingStartWaterEquivalentThickness
300A,0388,FL,1,RangeModulatorGatingStopWaterEquivalentThickness
300A,038A,FL,1,IsocenterToRangeModulatorDistance
300A,0390,SH,1,ScanSpotTuneID
300A,0392,IS,1,NumberOfScanSpotPositions
300A,0394,FL,1-n,ScanSpotPositionMap
300A,0396,FL,1-n,ScanSpotMetersetWeights
300A,0398,FL,2,ScanningSpotSize
300A,039A,IS,1,NumberOfPaintings
300A,03A0,SQ,1,IonToleranceTableSequence
300A,03A2,SQ,1,IonBeamSequence
300A,03A4,SQ,1,IonBeamLimitingDeviceSequence
300A,03A6,SQ,1,IonBlockSequence
300A,03A8,SQ,1,IonControlPointSequence
300A,03AA,SQ,1,IonWedgeSequence
300A,03AC,SQ,1,IonWedgePositionSequence
300A,0401,SQ,1,ReferencedSetupImageSequence
300A,0402,ST,1,SetupImageComment
300A,0410,SQ,1,MotionSynchronizationSequence
300A,0412,FL,3,ControlPointOrientation
300A,0420,SQ,1,GeneralAccessorySequence
300A,0421,SH,1,GeneralAccessoryID
300A,0422,ST,1,GeneralAccessoryDescription
300A,0423,CS,1,GeneralAccessoryType
300A,0424,IS,1,GeneralAccessoryNumber
300A,0431,SQ,1,ApplicatorGeometrySequence
300A,0432,CS,1,ApplicatorApertureShape
300A,0433,FL,1,ApplicatorOpening
300A,0434,FL,1,ApplicatorOpeningX
300A,0435,FL,1,ApplicatorOpeningY
300A,0436,FL,1,SourceToApplicatorMountingPositionDistance
300C,00F2,SQ,1,ReferencedControlPointSequence
300C,00F4,IS,1,ReferencedStartControlPointIndex
300C,00F6,IS,1,ReferencedStopControlPointIndex
300C,0100,IS,1,ReferencedRangeShifterNumber
300C,0102,IS,1,ReferencedLateralSpreadingDeviceNumber
300C,0104,IS,1,ReferencedRangeModulatorNumber
4008,00FF,CS,1,ReportProductionStatusTrial
4010,0001,CS,1,LowEnergyDetectors
4010,0002,CS,1,HighEnergyDetectors
4010,0004,SQ,1,DetectorGeometrySequence
4010,1001,SQ,1,ThreatROIVoxelSequence
4010,1004,FL,3,ThreatROIBase
4010,1005,FL,3,ThreatROIExtents
4010,1006,OB,1,ThreatROIBitmap
4010,1007,SH,1,RouteSegmentID
4010,1008,CS,1,GantryType
4010,1009,CS,1,OOIOwnerType
4010,100A,SQ,1,RouteSegmentSequence
4010,1010,US,1,PotentialThreatObjectID
4010,1011,SQ,1,ThreatSequence
4010,1012,CS,1,ThreatCategory
4010,1013,LT,1,ThreatCategoryDescription
4010,1014,CS,1,ATDAbilityAssessment
4010,1015,CS,1,ATDAssessmentFlag
4010,1016,FL,1,ATDAssessmentProbability
4010,1017,FL,1,Mass
4010,1018,FL,1,Density
4010,1019,FL,1,ZEffective
4010,101A,SH,1,BoardingPassID
4010,101B,FL,3,CenterOfMass
4010,101C,FL,3,CenterOfPTO
4010,101D,FL,6-n,BoundingPolygon
4010,101E,SH,1,RouteSegmentStartLocationID
4010,101F,SH,1,RouteSegmentEndLocationID
4010,1020,CS,1,RouteSegmentLocationIDType
4010,1021,CS,1-n,AbortReason
4010,1023,FL,1,VolumeOfPTO
4010,1024,CS,1,AbortFlag
4010,1025,DT,1,RouteSegmentStartTime
4010,1026,DT,1,RouteSegmentEndTime
4010,1027,CS,1,TDRType
4010,1028,CS,1,InternationalRouteSegment
4010,1029,LO,1-n,ThreatDetectionAlgorithmandVersion
4010,102A,SH,1,AssignedLocation
4010,102B,DT,1,AlarmDecisionTime
4010,1031,CS,1,AlarmDecision
4010,1033,US,1,NumberOfTotalObjects
4010,1034,US,1,NumberOfAlarmObjects
4010,1037,SQ,1,PTORepresentationSequence
4010,1038,SQ,1,ATDAssessmentSequence
4010,1039,CS,1,TIPType
4010,103A,CS,1,DICOSVersion
4010,1041,DT,1,OOIOwnerCreationTime
4010,1042,CS,1,OOIType
4010,1043,FL,3,OOISize
4010,1044,CS,1,AcquisitionStatus
4010,1045,SQ,1,BasisMaterialsCodeSequence
4010,1046,CS,1,PhantomType
4010,1047,SQ,1,OOIOwnerSequence
4010,1048,CS,1,ScanType
4010,1051,LO,1,ItineraryID
4010,1052,SH,1,ItineraryIDType
4010,1053,LO,1,ItineraryIDAssigningAuthority
4010,1054,SH,1,RouteID
4010,1055,SH,1,RouteIDAssigningAuthority
4010,1056,CS,1,InboundArrivalType
4010,1058,SH,1,CarrierID
4010,1059,CS,1,CarrierIDAssigningAuthority
4010,1060,FL,3,SourceOrientation
4010,1061,FL,3,SourcePosition
4010,1062,FL,1,BeltHeight
4010,1064,SQ,1,AlgorithmRoutingCodeSequence
4010,1067,CS,1,TransportClassification
4010,1068,LT,1,OOITypeDescriptor
4010,1069,FL,1,TotalProcessingTime
4010,106C,OB,1,DetectorCalibrationData
7FE0,0020,OW,1,CoefficientsSDVN
7FE0,0030,OW,1,CoefficientsSDHN
7FE0,0040,OW,1,CoefficientsSDDN